## Lab 2
CEMD-0920 |  |  | Lab#2: Charting measurements in Excel
The goal of this lab is to create two charts to perform statistical analysis on the measurements of the large nuts:
1) A chart showing:
a) Measurement data
b) Mean
c) Standard Deviation
2) A chart:
a) showing Measurement Data and Mean
b) showing UCL & LCL
c) that allows for a variable CV
Large nut micrometer measurements (inches)
data | 0.678 | 0.6751 | 0.677 | 0.6792 | 0.6812 | 0.6822 | 0.6789 | 0.6755 | 0.6819 | 0.6784
UCL | 0.69571 | 0.69571 | 0.69571 | 0.69571 | 0.69571 | 0.69571 | 0.69571 | 0.69571 | 0.69571 | 0.69571
LCL | 0.66177 | 0.66177 | 0.66177 | 0.66177 | 0.66177 | 0.66177 | 0.66177 | 0.66177 | 0.66177 | 0.66177
Ave: | 0.67874 | 0.67874 | 0.67874 | 0.67874 | 0.67874 | 0.67874 | 0.67874 | 0.67874 | 0.67874 | 0.67874
Ave: |  | 0.67874 |  | CV of 2.5% is ave*0.025 to get limits for CV chart
Std Dev: |  | 0.0024874 |  | UCL: | 0.69571 | 0.69571
C of V |  | 0.36647 |  | LCL: | 0.66177 | 0.66177
CV:
Large nut micrometer measurements (inches)
| 0.678 | 0.6751 | 0.677 | 0.6792 | 0.6812 | 0.6822 | 0.6789 | 0.6755 | 0.6819 | 0.6784
| 0.679 | 0.6761 | 0.678 | 0.6802 | 0.6822 | 0.6832 | 0.6799 | 0.6765 | 0.6829 | 0.6794
| 0.677 | 0.6741 | 0.676 | 0.6782 | 0.6802 | 0.6812 | 0.6779 | 0.6745 | 0.6809 | 0.6774
5%
0.678 | 0.6751 | 0.677 | 0.6792 | 0.6812 | 0.6822 | 0.6789 | 0.6755 | 0.6819 | 0.6784
0.67874 | 0.67874 | 0.67874 | 0.67874 | 0.67874 | 0.67874 | 0.67874 | 0.67874 | 0.67874 | 0.67874
0 | 0.6448 | 0.6448 | 0.6448 | 0.6448 | 0.6448 | 0.6448 | 0.6448 | 0.6448 | 0.6448
0 | 0.71268 | 0.71268 | 0.71268 | 0.71268 | 0.71268 | 0.71268 | 0.71268 | 0.71268 | 0.71268

## example
Lab#2: Charting measurements in Excel
© 2014 Salt Lake Community College. All rights reserved.
The goal of this lab is to create two charts to perform statistical analysis on the measurements of the large nuts.